## Sheet1
Breakpoint Chlorination Model
by Richard A. Falk 2-Jun-10
For swimming pool, assumption from Judd and Black (2000) is (with WHO data for composition of sweat and urine):
200 ml sweat with 680 mg/L urea 180 mg/L ammonia 45 mg/L amino acids 7 mg/L creatinine 80 mg/L other for 992 mg/L total
50 ml urine with 10,240 mg/L urea 560 mg/L ammonia 280 mg/L amino acids 640 mg/L creatinine 500 mg/L other for a total of 12,220 mg/L
This is 648 mg urea, 64 mg ammonia, 23 mg amino acids, 33.4 mg creatinine, 41 mg other for a total of 809.4 milligrams Nitrogen per hour
1000 gallons is 3785.41178 liters so this is 0.21 ppm N; 350 gallons would be 0.61 ppm N.
Temperature (F) | 77 | <--- change this (no effect with Jafvert & Valentine model)
Temperature (K) | 298.15 | calculated
pH | 7.5
Total Ammonia in ppm Nitrogen | 0.04 | 0.20249 | ppm Combined Chlorine (CC) equivalent (e.g. monochloramine)
Introduced Dichloramine & Trichloramine (ppm N) | 0.16 | 0.80997 | 200 ml sweat with 680 mg/L urea 180 mg/L ammonia 45 mg/L amino acids 7 mg/L creatinine 80 mg/L other for 992 mg/L total and 50 ml urine with 10,240 mg/L urea 560 mg/L ammonia 280 mg/L amino acids 640 mg/L creatinine 500 mg/L other
Free Chlorine in ppm Cl2 | 4
Cyanuric Acid Factor | 30 | Adjust this to have initial [HOCl] match PoolEquations spreadsheet under similar conditions
Use ammonia per hour with constant chlorine | 0
Carbonate Alkalinity (ppm CaCO3) | 90 | subtract 1/3rd of CYA level (at pH 7.5) from Total Alkalinity (TA) to get Carbonate Alkalinity
Time Increment (seconds) | 0.1 | If "#VALUE!" shows up in table, then use a smaller time increment. The button labels assume the time increment is 0.1
Model Type | 5 | KEY: 1 = Wei & Morris (1972), 2 = Selleck & Saunier (1976, 1979), 3 = Stenstrom & Tran (Initial Conditions), 4 = Jafvert & Valentine (1992), 5 = Improved J&V with temp. dependence Vikesland, Ozekin, Valentine (2000)
[H2CO3] | 0.0001299 | influence on NH2Cl buffer
[HCO3-] | 0.0017934 | minor influence on NH2Cl buffer
[CO32-] | 2.4977e-06 | minor influence on NHCl2 buffer
HOCl + NH3 --> NH2Cl + H2O | 4158467.3142
NH2Cl + H2O --> HOCl + NH3 | 2.8276e-05
HOCl + NH2Cl --> NHCl2 + H2O | 354.2365
NHCl2 + H2O --> HOCl + NH2Cl | 6.3889e-07
NH2Cl + NH2Cl --> NHCl2 + NH3 (H+ and buffer) | 0.0020994
NHCl2 + NH3 --> NH2Cl + NH2Cl (H+ catalyzed) | 0.0018974
NHCl2 + H2O --> NOH + 2H+ + 2Cl- (OH- catalyzed) | 3.5136e-05
NOH + NHCl2 --> N2 + HOCl + H+ + Cl- | 27777.7778
NOH + NH2Cl --> N2 + H2O + H+ + Cl- | 8333.3333
NH2Cl + NHCl2 --> N2 + 3H+ + 3Cl- | 0.015278
HOCl + NHCl2 --> NCl3 + H2O (OH-, OCl-, buffer) | 1051.6006 | Initial OCl- used since this term is minor at normal pH
NHCl2 + NCl3 + 2H2O --> 2HOCl + N2 + 3H+ + 3Cl- | 17568.2092 | OH- catalyzed
NH2Cl + NCl3 + H2O --> HOCl + N2 + 3H+ + 3Cl- | 439.2052 | OH- catalyzed
NHCl2 + 2HOCl + H2O --> NO3- + 5H+ + 4Cl- | 230.5556 | rate [NHCl2][OCl-]
NOH + 2HOCl --> NO3- + 3H+ + 2Cl- | 0 | rate [NOH][HOCl]
NCl3 + H2O --> NHCl2 + HOCl | 0
| INITIAL | START | [99 empty] | END
Time (seconds) | 0 | 0 | 0.1 | 0.2 | 0.3 | 0.4 | 0.5 | 0.6 | 0.7 | 0.8 | 0.9 | 1 | 1.1 | 1.2 | 1.3 | 1.4 | 1.5 | 1.6 | 1.7 | 1.8 | 1.9 | 2 | 2.1 | 2.2 | 2.3 | 2.4 | 2.5 | 2.6 | 2.7 | 2.8 | 2.9 | 3 | 3.1 | 3.2 | 3.3 | 3.4 | 3.5 | 3.6 | 3.7 | 3.8 | 3.9 | 4 | 4.1 | 4.2 | 4.3 | 4.4 | 4.5 | 4.6 | 4.7 | 4.8 | 4.9 | 5 | 5.1 | 5.2 | 5.3 | 5.4 | 5.5 | 5.6 | 5.7 | 5.8 | 5.9 | 6 | 6.1 | 6.2 | 6.3 | 6.4 | 6.5 | 6.6 | 6.7 | 6.8 | 6.9 | 7 | 7.1 | 7.2 | 7.3 | 7.4 | 7.5 | 7.6 | 7.7 | 7.8 | 7.9 | 8 | 8.1 | 8.2 | 8.3 | 8.4 | 8.5 | 8.6 | 8.7 | 8.8 | 8.9 | 9 | 9.1 | 9.2 | 9.3 | 9.4 | 9.5 | 9.6 | 9.7 | 9.8 | 9.9 | 10
Time (minutes) | 0 | 0 | 0.0016667 | 0.0033333 | 0.005 | 0.0066667 | 0.0083333 | 0.01 | 0.011667 | 0.013333 | 0.015 | 0.016667 | 0.018333 | 0.02 | 0.021667 | 0.023333 | 0.025 | 0.026667 | 0.028333 | 0.03 | 0.031667 | 0.033333 | 0.035 | 0.036667 | 0.038333 | 0.04 | 0.041667 | 0.043333 | 0.045 | 0.046667 | 0.048333 | 0.05 | 0.051667 | 0.053333 | 0.055 | 0.056667 | 0.058333 | 0.06 | 0.061667 | 0.063333 | 0.065 | 0.066667 | 0.068333 | 0.07 | 0.071667 | 0.073333 | 0.075 | 0.076667 | 0.078333 | 0.08 | 0.081667 | 0.083333 | 0.085 | 0.086667 | 0.088333 | 0.09 | 0.091667 | 0.093333 | 0.095 | 0.096667 | 0.098333 | 0.1 | 0.10167 | 0.10333 | 0.105 | 0.10667 | 0.10833 | 0.11 | 0.11167 | 0.11333 | 0.115 | 0.11667 | 0.11833 | 0.12 | 0.12167 | 0.12333 | 0.125 | 0.12667 | 0.12833 | 0.13 | 0.13167 | 0.13333 | 0.135 | 0.13667 | 0.13833 | 0.14 | 0.14167 | 0.14333 | 0.145 | 0.14667 | 0.14833 | 0.15 | 0.15167 | 0.15333 | 0.155 | 0.15667 | 0.15833 | 0.16 | 0.16167 | 0.16333 | 0.165 | 0.16667
Time (hours) | 0 | 0 | 2.7778e-05 | 5.5556e-05 | 8.3333e-05 | 0.00011111 | 0.00013889 | 0.00016667 | 0.00019444 | 0.00022222 | 0.00025 | 0.00027778 | 0.00030556 | 0.00033333 | 0.00036111 | 0.00038889 | 0.00041667 | 0.00044444 | 0.00047222 | 0.0005 | 0.00052778 | 0.00055556 | 0.00058333 | 0.00061111 | 0.00063889 | 0.00066667 | 0.00069444 | 0.00072222 | 0.00075 | 0.00077778 | 0.00080556 | 0.00083333 | 0.00086111 | 0.00088889 | 0.00091667 | 0.00094444 | 0.00097222 | 0.001 | 0.0010278 | 0.0010556 | 0.0010833 | 0.0011111 | 0.0011389 | 0.0011667 | 0.0011944 | 0.0012222 | 0.00125 | 0.0012778 | 0.0013056 | 0.0013333 | 0.0013611 | 0.0013889 | 0.0014167 | 0.0014444 | 0.0014722 | 0.0015 | 0.0015278 | 0.0015556 | 0.0015833 | 0.0016111 | 0.0016389 | 0.0016667 | 0.0016944 | 0.0017222 | 0.00175 | 0.0017778 | 0.0018056 | 0.0018333 | 0.0018611 | 0.0018889 | 0.0019167 | 0.0019444 | 0.0019722 | 0.002 | 0.0020278 | 0.0020556 | 0.0020833 | 0.0021111 | 0.0021389 | 0.0021667 | 0.0021944 | 0.0022222 | 0.00225 | 0.0022778 | 0.0023056 | 0.0023333 | 0.0023611 | 0.0023889 | 0.0024167 | 0.0024444 | 0.0024722 | 0.0025 | 0.0025278 | 0.0025556 | 0.0025833 | 0.0026111 | 0.0026389 | 0.0026667 | 0.0026944 | 0.0027222 | 0.00275 | 0.0027778
d[NH3] = d[Total Ammonia] | -1.6472e-08 | -1.6472e-08 | -1.6505e-08 | -1.6531e-08 | -1.655e-08 | -1.6563e-08 | -1.6571e-08 | -1.6573e-08 | -1.657e-08 | -1.6563e-08 | -1.6551e-08 | -1.6535e-08 | -1.6514e-08 | -1.649e-08 | -1.6463e-08 | -1.6432e-08 | -1.6399e-08 | -1.6362e-08 | -1.6323e-08 | -1.628e-08 | -1.6236e-08 | -1.6189e-08 | -1.614e-08 | -1.6089e-08 | -1.6036e-08 | -1.5982e-08 | -1.5925e-08 | -1.5867e-08 | -1.5808e-08 | -1.5747e-08 | -1.5684e-08 | -1.5621e-08 | -1.5556e-08 | -1.549e-08 | -1.5423e-08 | -1.5355e-08 | -1.5287e-08 | -1.5217e-08 | -1.5147e-08 | -1.5075e-08 | -1.5004e-08 | -1.4931e-08 | -1.4858e-08 | -1.4784e-08 | -1.471e-08 | -1.4636e-08 | -1.4561e-08 | -1.4485e-08 | -1.441e-08 | -1.4334e-08 | -1.4257e-08 | -1.4181e-08 | -1.4104e-08 | -1.4027e-08 | -1.395e-08 | -1.3872e-08 | -1.3795e-08 | -1.3717e-08 | -1.3639e-08 | -1.3562e-08 | -1.3484e-08 | -1.3406e-08 | -1.3328e-08 | -1.3251e-08 | -1.3173e-08 | -1.3095e-08 | -1.3018e-08 | -1.294e-08 | -1.2863e-08 | -1.2785e-08 | -1.2708e-08 | -1.2631e-08 | -1.2554e-08 | -1.2477e-08 | -1.2401e-08 | -1.2324e-08 | -1.2248e-08 | -1.2172e-08 | -1.2096e-08 | -1.202e-08 | -1.1945e-08 | -1.187e-08 | -1.1795e-08 | -1.172e-08 | -1.1646e-08 | -1.1571e-08 | -1.1497e-08 | -1.1424e-08 | -1.135e-08 | -1.1277e-08 | -1.1204e-08 | -1.1132e-08 | -1.106e-08 | -1.0988e-08 | -1.0916e-08 | -1.0845e-08 | -1.0774e-08 | -1.0703e-08 | -1.0633e-08 | -1.0562e-08 | -1.0493e-08 | -1.0423e-08
Total Ammonia [NH3] + [NH4+] | 2.8558e-06 | 2.8558e-06 | 2.8393e-06 | 2.8228e-06 | 2.8063e-06 | 2.7897e-06 | 2.7732e-06 | 2.7566e-06 | 2.74e-06 | 2.7234e-06 | 2.7069e-06 | 2.6903e-06 | 2.6738e-06 | 2.6573e-06 | 2.6408e-06 | 2.6243e-06 | 2.6079e-06 | 2.5915e-06 | 2.5751e-06 | 2.5588e-06 | 2.5425e-06 | 2.5263e-06 | 2.5101e-06 | 2.494e-06 | 2.4779e-06 | 2.4618e-06 | 2.4459e-06 | 2.4299e-06 | 2.4141e-06 | 2.3983e-06 | 2.3825e-06 | 2.3668e-06 | 2.3512e-06 | 2.3356e-06 | 2.3202e-06 | 2.3047e-06 | 2.2894e-06 | 2.2741e-06 | 2.2589e-06 | 2.2437e-06 | 2.2287e-06 | 2.2136e-06 | 2.1987e-06 | 2.1839e-06 | 2.1691e-06 | 2.1544e-06 | 2.1397e-06 | 2.1252e-06 | 2.1107e-06 | 2.0963e-06 | 2.0819e-06 | 2.0677e-06 | 2.0535e-06 | 2.0394e-06 | 2.0254e-06 | 2.0114e-06 | 1.9975e-06 | 1.9838e-06 | 1.97e-06 | 1.9564e-06 | 1.9428e-06 | 1.9294e-06 | 1.9159e-06 | 1.9026e-06 | 1.8894e-06 | 1.8762e-06 | 1.8631e-06 | 1.8501e-06 | 1.8371e-06 | 1.8243e-06 | 1.8115e-06 | 1.7988e-06 | 1.7862e-06 | 1.7736e-06 | 1.7611e-06 | 1.7487e-06 | 1.7364e-06 | 1.7242e-06 | 1.712e-06 | 1.6999e-06 | 1.6879e-06 | 1.6759e-06 | 1.664e-06 | 1.6523e-06 | 1.6405e-06 | 1.6289e-06 | 1.6173e-06 | 1.6058e-06 | 1.5944e-06 | 1.583e-06 | 1.5718e-06 | 1.5606e-06 | 1.5494e-06 | 1.5384e-06 | 1.5274e-06 | 1.5165e-06 | 1.5056e-06 | 1.4948e-06 | 1.4841e-06 | 1.4735e-06 | 1.463e-06 | 1.4525e-06
d[HOCl] = d[Total Chlorine] | 4.4043e-07 | 4.4043e-07 | 4.222e-07 | 4.0504e-07 | 3.8888e-07 | 3.7364e-07 | 3.5925e-07 | 3.4565e-07 | 3.3279e-07 | 3.206e-07 | 3.0905e-07 | 2.9809e-07 | 2.8768e-07 | 2.7779e-07 | 2.6838e-07 | 2.5942e-07 | 2.5088e-07 | 2.4274e-07 | 2.3498e-07 | 2.2757e-07 | 2.2048e-07 | 2.1371e-07 | 2.0723e-07 | 2.0103e-07 | 1.9509e-07 | 1.8939e-07 | 1.8393e-07 | 1.787e-07 | 1.7367e-07 | 1.6884e-07 | 1.642e-07 | 1.5973e-07 | 1.5544e-07 | 1.5131e-07 | 1.4733e-07 | 1.435e-07 | 1.3981e-07 | 1.3626e-07 | 1.3283e-07 | 1.2951e-07 | 1.2632e-07 | 1.2324e-07 | 1.2026e-07 | 1.1738e-07 | 1.146e-07 | 1.1191e-07 | 1.093e-07 | 1.0679e-07 | 1.0435e-07 | 1.0199e-07 | 9.9706e-08 | 9.7492e-08 | 9.5348e-08 | 9.3269e-08 | 9.1254e-08 | 8.9299e-08 | 8.7403e-08 | 8.5563e-08 | 8.3777e-08 | 8.2043e-08 | 8.0359e-08 | 7.8723e-08 | 7.7134e-08 | 7.5589e-08 | 7.4088e-08 | 7.2628e-08 | 7.1209e-08 | 6.9828e-08 | 6.8485e-08 | 6.7178e-08 | 6.5906e-08 | 6.4667e-08 | 6.3461e-08 | 6.2287e-08 | 6.1143e-08 | 6.0028e-08 | 5.8942e-08 | 5.7883e-08 | 5.6851e-08 | 5.5845e-08 | 5.4864e-08 | 5.3907e-08 | 5.2973e-08 | 5.2063e-08 | 5.1174e-08 | 5.0306e-08 | 4.946e-08 | 4.8633e-08 | 4.7826e-08 | 4.7038e-08 | 4.6268e-08 | 4.5516e-08 | 4.4781e-08 | 4.4063e-08 | 4.3361e-08 | 4.2675e-08 | 4.2005e-08 | 4.1349e-08 | 4.0708e-08 | 4.0081e-08 | 3.9468e-08 | 3.8868e-08
Total Chlorine [HOCl] + [OCl-] + [Cl-CYA] | 5.6413e-05 | 5.6413e-05 | 5.6853e-05 | 5.7275e-05 | 5.768e-05 | 5.8069e-05 | 5.8443e-05 | 5.8802e-05 | 5.9148e-05 | 5.9481e-05 | 5.9801e-05 | 6.011e-05 | 6.0408e-05 | 6.0696e-05 | 6.0974e-05 | 6.1242e-05 | 6.1502e-05 | 6.1752e-05 | 6.1995e-05 | 6.223e-05 | 6.2458e-05 | 6.2678e-05 | 6.2892e-05 | 6.3099e-05 | 6.33e-05 | 6.3495e-05 | 6.3685e-05 | 6.3869e-05 | 6.4047e-05 | 6.4221e-05 | 6.439e-05 | 6.4554e-05 | 6.4714e-05 | 6.4869e-05 | 6.5021e-05 | 6.5168e-05 | 6.5311e-05 | 6.5451e-05 | 6.5587e-05 | 6.572e-05 | 6.585e-05 | 6.5976e-05 | 6.6099e-05 | 6.622e-05 | 6.6337e-05 | 6.6452e-05 | 6.6563e-05 | 6.6673e-05 | 6.678e-05 | 6.6884e-05 | 6.6986e-05 | 6.7086e-05 | 6.7183e-05 | 6.7278e-05 | 6.7372e-05 | 6.7463e-05 | 6.7552e-05 | 6.764e-05 | 6.7725e-05 | 6.7809e-05 | 6.7891e-05 | 6.7971e-05 | 6.805e-05 | 6.8127e-05 | 6.8203e-05 | 6.8277e-05 | 6.835e-05 | 6.8421e-05 | 6.8491e-05 | 6.8559e-05 | 6.8626e-05 | 6.8692e-05 | 6.8757e-05 | 6.882e-05 | 6.8883e-05 | 6.8944e-05 | 6.9004e-05 | 6.9063e-05 | 6.9121e-05 | 6.9177e-05 | 6.9233e-05 | 6.9288e-05 | 6.9342e-05 | 6.9395e-05 | 6.9447e-05 | 6.9498e-05 | 6.9549e-05 | 6.9598e-05 | 6.9647e-05 | 6.9694e-05 | 6.9742e-05 | 6.9788e-05 | 6.9833e-05 | 6.9878e-05 | 6.9922e-05 | 6.9965e-05 | 7.0008e-05 | 7.005e-05 | 7.0092e-05 | 7.0132e-05 | 7.0172e-05 | 7.0212e-05
Pure Free Chlorine [HOCl] + [OCl-] | 1.8804e-06 | 1.8804e-06 | 1.8951e-06 | 1.9092e-06 | 1.9227e-06 | 1.9356e-06 | 1.9481e-06 | 1.9601e-06 | 1.9716e-06 | 1.9827e-06 | 1.9934e-06 | 2.0037e-06 | 2.0136e-06 | 2.0232e-06 | 2.0325e-06 | 2.0414e-06 | 2.0501e-06 | 2.0584e-06 | 2.0665e-06 | 2.0743e-06 | 2.0819e-06 | 2.0893e-06 | 2.0964e-06 | 2.1033e-06 | 2.11e-06 | 2.1165e-06 | 2.1228e-06 | 2.129e-06 | 2.1349e-06 | 2.1407e-06 | 2.1463e-06 | 2.1518e-06 | 2.1571e-06 | 2.1623e-06 | 2.1674e-06 | 2.1723e-06 | 2.177e-06 | 2.1817e-06 | 2.1862e-06 | 2.1907e-06 | 2.195e-06 | 2.1992e-06 | 2.2033e-06 | 2.2073e-06 | 2.2112e-06 | 2.2151e-06 | 2.2188e-06 | 2.2224e-06 | 2.226e-06 | 2.2295e-06 | 2.2329e-06 | 2.2362e-06 | 2.2394e-06 | 2.2426e-06 | 2.2457e-06 | 2.2488e-06 | 2.2517e-06 | 2.2547e-06 | 2.2575e-06 | 2.2603e-06 | 2.263e-06 | 2.2657e-06 | 2.2683e-06 | 2.2709e-06 | 2.2734e-06 | 2.2759e-06 | 2.2783e-06 | 2.2807e-06 | 2.283e-06 | 2.2853e-06 | 2.2875e-06 | 2.2897e-06 | 2.2919e-06 | 2.294e-06 | 2.2961e-06 | 2.2981e-06 | 2.3001e-06 | 2.3021e-06 | 2.304e-06 | 2.3059e-06 | 2.3078e-06 | 2.3096e-06 | 2.3114e-06 | 2.3132e-06 | 2.3149e-06 | 2.3166e-06 | 2.3183e-06 | 2.3199e-06 | 2.3216e-06 | 2.3231e-06 | 2.3247e-06 | 2.3263e-06 | 2.3278e-06 | 2.3293e-06 | 2.3307e-06 | 2.3322e-06 | 2.3336e-06 | 2.335e-06 | 2.3364e-06 | 2.3377e-06 | 2.3391e-06 | 2.3404e-06
[NH3] | 4.4919e-08 | 4.4919e-08 | 4.466e-08 | 4.44e-08 | 4.414e-08 | 4.388e-08 | 4.362e-08 | 4.3359e-08 | 4.3098e-08 | 4.2838e-08 | 4.2577e-08 | 4.2317e-08 | 4.2057e-08 | 4.1797e-08 | 4.1538e-08 | 4.1279e-08 | 4.102e-08 | 4.0762e-08 | 4.0505e-08 | 4.0248e-08 | 3.9992e-08 | 3.9737e-08 | 3.9482e-08 | 3.9228e-08 | 3.8975e-08 | 3.8723e-08 | 3.8471e-08 | 3.8221e-08 | 3.7971e-08 | 3.7723e-08 | 3.7475e-08 | 3.7228e-08 | 3.6983e-08 | 3.6738e-08 | 3.6494e-08 | 3.6252e-08 | 3.601e-08 | 3.577e-08 | 3.553e-08 | 3.5292e-08 | 3.5055e-08 | 3.4819e-08 | 3.4584e-08 | 3.435e-08 | 3.4118e-08 | 3.3886e-08 | 3.3656e-08 | 3.3427e-08 | 3.3199e-08 | 3.2973e-08 | 3.2747e-08 | 3.2523e-08 | 3.23e-08 | 3.2078e-08 | 3.1858e-08 | 3.1638e-08 | 3.142e-08 | 3.1203e-08 | 3.0987e-08 | 3.0773e-08 | 3.0559e-08 | 3.0347e-08 | 3.0136e-08 | 2.9927e-08 | 2.9718e-08 | 2.9511e-08 | 2.9305e-08 | 2.91e-08 | 2.8897e-08 | 2.8694e-08 | 2.8493e-08 | 2.8294e-08 | 2.8095e-08 | 2.7897e-08 | 2.7701e-08 | 2.7506e-08 | 2.7312e-08 | 2.712e-08 | 2.6928e-08 | 2.6738e-08 | 2.6549e-08 | 2.6361e-08 | 2.6174e-08 | 2.5989e-08 | 2.5804e-08 | 2.5621e-08 | 2.5439e-08 | 2.5258e-08 | 2.5079e-08 | 2.49e-08 | 2.4723e-08 | 2.4546e-08 | 2.4371e-08 | 2.4197e-08 | 2.4025e-08 | 2.3853e-08 | 2.3682e-08 | 2.3513e-08 | 2.3344e-08 | 2.3177e-08 | 2.3011e-08 | 2.2846e-08
[HOCl] | 8.8183e-07 | 8.8183e-07 | 8.8872e-07 | 8.9532e-07 | 9.0165e-07 | 9.0773e-07 | 9.1357e-07 | 9.1919e-07 | 9.2459e-07 | 9.2979e-07 | 9.348e-07 | 9.3963e-07 | 9.4429e-07 | 9.4879e-07 | 9.5313e-07 | 9.5733e-07 | 9.6138e-07 | 9.653e-07 | 9.691e-07 | 9.7277e-07 | 9.7633e-07 | 9.7978e-07 | 9.8312e-07 | 9.8636e-07 | 9.895e-07 | 9.9255e-07 | 9.9551e-07 | 9.9838e-07 | 1.0012e-06 | 1.0039e-06 | 1.0065e-06 | 1.0091e-06 | 1.0116e-06 | 1.014e-06 | 1.0164e-06 | 1.0187e-06 | 1.0209e-06 | 1.0231e-06 | 1.0253e-06 | 1.0273e-06 | 1.0294e-06 | 1.0313e-06 | 1.0333e-06 | 1.0351e-06 | 1.037e-06 | 1.0388e-06 | 1.0405e-06 | 1.0422e-06 | 1.0439e-06 | 1.0455e-06 | 1.0471e-06 | 1.0487e-06 | 1.0502e-06 | 1.0517e-06 | 1.0531e-06 | 1.0546e-06 | 1.056e-06 | 1.0573e-06 | 1.0587e-06 | 1.06e-06 | 1.0613e-06 | 1.0625e-06 | 1.0637e-06 | 1.065e-06 | 1.0661e-06 | 1.0673e-06 | 1.0684e-06 | 1.0695e-06 | 1.0706e-06 | 1.0717e-06 | 1.0728e-06 | 1.0738e-06 | 1.0748e-06 | 1.0758e-06 | 1.0768e-06 | 1.0777e-06 | 1.0787e-06 | 1.0796e-06 | 1.0805e-06 | 1.0814e-06 | 1.0822e-06 | 1.0831e-06 | 1.0839e-06 | 1.0848e-06 | 1.0856e-06 | 1.0864e-06 | 1.0872e-06 | 1.0879e-06 | 1.0887e-06 | 1.0895e-06 | 1.0902e-06 | 1.0909e-06 | 1.0916e-06 | 1.0923e-06 | 1.093e-06 | 1.0937e-06 | 1.0944e-06 | 1.095e-06 | 1.0957e-06 | 1.0963e-06 | 1.0969e-06 | 1.0975e-06
[OCl-] | 9.9859e-07 | 9.9859e-07 | 1.0064e-06 | 1.0139e-06 | 1.021e-06 | 1.0279e-06 | 1.0345e-06 | 1.0409e-06 | 1.047e-06 | 1.0529e-06 | 1.0586e-06 | 1.064e-06 | 1.0693e-06 | 1.0744e-06 | 1.0793e-06 | 1.0841e-06 | 1.0887e-06 | 1.0931e-06 | 1.0974e-06 | 1.1016e-06 | 1.1056e-06 | 1.1095e-06 | 1.1133e-06 | 1.117e-06 | 1.1205e-06 | 1.124e-06 | 1.1273e-06 | 1.1306e-06 | 1.1337e-06 | 1.1368e-06 | 1.1398e-06 | 1.1427e-06 | 1.1455e-06 | 1.1483e-06 | 1.151e-06 | 1.1536e-06 | 1.1561e-06 | 1.1586e-06 | 1.161e-06 | 1.1633e-06 | 1.1656e-06 | 1.1679e-06 | 1.1701e-06 | 1.1722e-06 | 1.1743e-06 | 1.1763e-06 | 1.1783e-06 | 1.1802e-06 | 1.1821e-06 | 1.1839e-06 | 1.1858e-06 | 1.1875e-06 | 1.1892e-06 | 1.1909e-06 | 1.1926e-06 | 1.1942e-06 | 1.1958e-06 | 1.1973e-06 | 1.1988e-06 | 1.2003e-06 | 1.2018e-06 | 1.2032e-06 | 1.2046e-06 | 1.206e-06 | 1.2073e-06 | 1.2086e-06 | 1.2099e-06 | 1.2111e-06 | 1.2124e-06 | 1.2136e-06 | 1.2148e-06 | 1.216e-06 | 1.2171e-06 | 1.2182e-06 | 1.2193e-06 | 1.2204e-06 | 1.2215e-06 | 1.2225e-06 | 1.2235e-06 | 1.2245e-06 | 1.2255e-06 | 1.2265e-06 | 1.2275e-06 | 1.2284e-06 | 1.2293e-06 | 1.2302e-06 | 1.2311e-06 | 1.232e-06 | 1.2328e-06 | 1.2337e-06 | 1.2345e-06 | 1.2353e-06 | 1.2362e-06 | 1.2369e-06 | 1.2377e-06 | 1.2385e-06 | 1.2392e-06 | 1.24e-06 | 1.2407e-06 | 1.2414e-06 | 1.2422e-06 | 1.2429e-06
d[NH2Cl] | 1.6473e-08 | 1.6473e-08 | 1.6497e-08 | 1.6515e-08 | 1.6526e-08 | 1.6531e-08 | 1.6531e-08 | 1.6526e-08 | 1.6516e-08 | 1.6502e-08 | 1.6483e-08 | 1.6461e-08 | 1.6434e-08 | 1.6404e-08 | 1.6371e-08 | 1.6335e-08 | 1.6296e-08 | 1.6254e-08 | 1.6209e-08 | 1.6162e-08 | 1.6113e-08 | 1.6061e-08 | 1.6007e-08 | 1.5952e-08 | 1.5895e-08 | 1.5836e-08 | 1.5775e-08 | 1.5713e-08 | 1.565e-08 | 1.5585e-08 | 1.5519e-08 | 1.5452e-08 | 1.5383e-08 | 1.5314e-08 | 1.5244e-08 | 1.5173e-08 | 1.5101e-08 | 1.5028e-08 | 1.4955e-08 | 1.4881e-08 | 1.4806e-08 | 1.4731e-08 | 1.4655e-08 | 1.4579e-08 | 1.4502e-08 | 1.4425e-08 | 1.4347e-08 | 1.427e-08 | 1.4192e-08 | 1.4113e-08 | 1.4035e-08 | 1.3956e-08 | 1.3877e-08 | 1.3798e-08 | 1.3719e-08 | 1.3639e-08 | 1.356e-08 | 1.348e-08 | 1.3401e-08 | 1.3321e-08 | 1.3242e-08 | 1.3162e-08 | 1.3083e-08 | 1.3003e-08 | 1.2924e-08 | 1.2845e-08 | 1.2766e-08 | 1.2687e-08 | 1.2608e-08 | 1.2529e-08 | 1.245e-08 | 1.2372e-08 | 1.2294e-08 | 1.2216e-08 | 1.2138e-08 | 1.206e-08 | 1.1983e-08 | 1.1905e-08 | 1.1828e-08 | 1.1752e-08 | 1.1675e-08 | 1.1599e-08 | 1.1523e-08 | 1.1447e-08 | 1.1372e-08 | 1.1297e-08 | 1.1222e-08 | 1.1147e-08 | 1.1073e-08 | 1.0999e-08 | 1.0925e-08 | 1.0852e-08 | 1.0779e-08 | 1.0706e-08 | 1.0634e-08 | 1.0561e-08 | 1.049e-08 | 1.0418e-08 | 1.0347e-08 | 1.0276e-08 | 1.0206e-08 | 1.0136e-08
[NH2Cl] Monochloramine | 0 | 0 | 1.6473e-08 | 3.297e-08 | 4.9485e-08 | 6.6011e-08 | 8.2542e-08 | 9.9073e-08 | 1.156e-07 | 1.3212e-07 | 1.4862e-07 | 1.651e-07 | 1.8156e-07 | 1.98e-07 | 2.144e-07 | 2.3077e-07 | 2.4711e-07 | 2.634e-07 | 2.7966e-07 | 2.9587e-07 | 3.1203e-07 | 3.2814e-07 | 3.442e-07 | 3.6021e-07 | 3.7616e-07 | 3.9206e-07 | 4.0789e-07 | 4.2367e-07 | 4.3938e-07 | 4.5503e-07 | 4.7061e-07 | 4.8613e-07 | 5.0158e-07 | 5.1697e-07 | 5.3228e-07 | 5.4753e-07 | 5.627e-07 | 5.778e-07 | 5.9283e-07 | 6.0778e-07 | 6.2266e-07 | 6.3747e-07 | 6.522e-07 | 6.6685e-07 | 6.8143e-07 | 6.9593e-07 | 7.1036e-07 | 7.2471e-07 | 7.3898e-07 | 7.5317e-07 | 7.6728e-07 | 7.8132e-07 | 7.9527e-07 | 8.0915e-07 | 8.2295e-07 | 8.3667e-07 | 8.503e-07 | 8.6386e-07 | 8.7734e-07 | 8.9075e-07 | 9.0407e-07 | 9.1731e-07 | 9.3047e-07 | 9.4355e-07 | 9.5656e-07 | 9.6948e-07 | 9.8233e-07 | 9.9509e-07 | 1.0078e-06 | 1.0204e-06 | 1.0329e-06 | 1.0454e-06 | 1.0577e-06 | 1.07e-06 | 1.0822e-06 | 1.0944e-06 | 1.1064e-06 | 1.1184e-06 | 1.1303e-06 | 1.1422e-06 | 1.1539e-06 | 1.1656e-06 | 1.1772e-06 | 1.1887e-06 | 1.2002e-06 | 1.2115e-06 | 1.2228e-06 | 1.234e-06 | 1.2452e-06 | 1.2563e-06 | 1.2673e-06 | 1.2782e-06 | 1.289e-06 | 1.2998e-06 | 1.3105e-06 | 1.3212e-06 | 1.3317e-06 | 1.3422e-06 | 1.3526e-06 | 1.363e-06 | 1.3733e-06 | 1.3835e-06
d[NHCl2] | -2.3061e-07 | -2.3061e-07 | -2.2147e-07 | -2.1288e-07 | -2.0478e-07 | -1.9714e-07 | -1.8992e-07 | -1.8309e-07 | -1.7663e-07 | -1.705e-07 | -1.647e-07 | -1.5918e-07 | -1.5394e-07 | -1.4896e-07 | -1.4421e-07 | -1.3969e-07 | -1.3539e-07 | -1.3128e-07 | -1.2735e-07 | -1.236e-07 | -1.2001e-07 | -1.1658e-07 | -1.133e-07 | -1.1015e-07 | -1.0713e-07 | -1.0424e-07 | -1.0146e-07 | -9.8796e-08 | -9.6233e-08 | -9.3769e-08 | -9.1399e-08 | -8.9119e-08 | -8.6923e-08 | -8.4808e-08 | -8.277e-08 | -8.0804e-08 | -7.8909e-08 | -7.7079e-08 | -7.5313e-08 | -7.3607e-08 | -7.1959e-08 | -7.0366e-08 | -6.8826e-08 | -6.7335e-08 | -6.5893e-08 | -6.4497e-08 | -6.3145e-08 | -6.1836e-08 | -6.0567e-08 | -5.9337e-08 | -5.8144e-08 | -5.6987e-08 | -5.5864e-08 | -5.4774e-08 | -5.3716e-08 | -5.2689e-08 | -5.1691e-08 | -5.0721e-08 | -4.9778e-08 | -4.8861e-08 | -4.797e-08 | -4.7103e-08 | -4.6259e-08 | -4.5438e-08 | -4.4638e-08 | -4.386e-08 | -4.3102e-08 | -4.2363e-08 | -4.1644e-08 | -4.0942e-08 | -4.0259e-08 | -3.9592e-08 | -3.8942e-08 | -3.8307e-08 | -3.7688e-08 | -3.7084e-08 | -3.6495e-08 | -3.5919e-08 | -3.5358e-08 | -3.4809e-08 | -3.4273e-08 | -3.3749e-08 | -3.3237e-08 | -3.2737e-08 | -3.2248e-08 | -3.177e-08 | -3.1302e-08 | -3.0845e-08 | -3.0398e-08 | -2.996e-08 | -2.9532e-08 | -2.9113e-08 | -2.8703e-08 | -2.8301e-08 | -2.7908e-08 | -2.7523e-08 | -2.7146e-08 | -2.6777e-08 | -2.6415e-08 | -2.6061e-08 | -2.5713e-08 | -2.5373e-08
[NHCl2] Dichloramine | 1.1423e-05 | 1.1423e-05 | 1.1192e-05 | 1.0971e-05 | 1.0758e-05 | 1.0553e-05 | 1.0356e-05 | 1.0166e-05 | 9.9832e-06 | 9.8066e-06 | 9.6361e-06 | 9.4714e-06 | 9.3122e-06 | 9.1583e-06 | 9.0093e-06 | 8.8651e-06 | 8.7254e-06 | 8.59e-06 | 8.4587e-06 | 8.3314e-06 | 8.2078e-06 | 8.0878e-06 | 7.9712e-06 | 7.8579e-06 | 7.7477e-06 | 7.6406e-06 | 7.5364e-06 | 7.4349e-06 | 7.3361e-06 | 7.2399e-06 | 7.1461e-06 | 7.0547e-06 | 6.9656e-06 | 6.8787e-06 | 6.7939e-06 | 6.7111e-06 | 6.6303e-06 | 6.5514e-06 | 6.4743e-06 | 6.399e-06 | 6.3254e-06 | 6.2534e-06 | 6.1831e-06 | 6.1142e-06 | 6.0469e-06 | 5.981e-06 | 5.9165e-06 | 5.8534e-06 | 5.7915e-06 | 5.731e-06 | 5.6716e-06 | 5.6135e-06 | 5.5565e-06 | 5.5006e-06 | 5.4459e-06 | 5.3921e-06 | 5.3394e-06 | 5.2878e-06 | 5.237e-06 | 5.1873e-06 | 5.1384e-06 | 5.0904e-06 | 5.0433e-06 | 4.9971e-06 | 4.9516e-06 | 4.907e-06 | 4.8631e-06 | 4.82e-06 | 4.7777e-06 | 4.736e-06 | 4.6951e-06 | 4.6548e-06 | 4.6152e-06 | 4.5763e-06 | 4.538e-06 | 4.5003e-06 | 4.4632e-06 | 4.4267e-06 | 4.3908e-06 | 4.3554e-06 | 4.3206e-06 | 4.2864e-06 | 4.2526e-06 | 4.2194e-06 | 4.1866e-06 | 4.1544e-06 | 4.1226e-06 | 4.0913e-06 | 4.0605e-06 | 4.0301e-06 | 4.0001e-06 | 3.9706e-06 | 3.9415e-06 | 3.9128e-06 | 3.8845e-06 | 3.8565e-06 | 3.829e-06 | 3.8019e-06 | 3.7751e-06 | 3.7487e-06 | 3.7226e-06 | 3.6969e-06
d[NCl3] | -2.2818e-07 | -2.2818e-07 | -2.1909e-07 | -2.1053e-07 | -2.0247e-07 | -1.9486e-07 | -1.8768e-07 | -1.8089e-07 | -1.7446e-07 | -1.6837e-07 | -1.6259e-07 | -1.5711e-07 | -1.519e-07 | -1.4695e-07 | -1.4223e-07 | -1.3774e-07 | -1.3346e-07 | -1.2938e-07 | -1.2549e-07 | -1.2176e-07 | -1.182e-07 | -1.148e-07 | -1.1154e-07 | -1.0842e-07 | -1.0542e-07 | -1.0255e-07 | -9.98e-08 | -9.7155e-08 | -9.4615e-08 | -9.2174e-08 | -8.9826e-08 | -8.7567e-08 | -8.5392e-08 | -8.3297e-08 | -8.1279e-08 | -7.9333e-08 | -7.7457e-08 | -7.5647e-08 | -7.3899e-08 | -7.2212e-08 | -7.0581e-08 | -6.9006e-08 | -6.7483e-08 | -6.601e-08 | -6.4584e-08 | -6.3205e-08 | -6.1869e-08 | -6.0575e-08 | -5.9322e-08 | -5.8107e-08 | -5.6929e-08 | -5.5786e-08 | -5.4678e-08 | -5.3603e-08 | -5.2559e-08 | -5.1545e-08 | -5.056e-08 | -4.9604e-08 | -4.8674e-08 | -4.777e-08 | -4.6891e-08 | -4.6037e-08 | -4.5205e-08 | -4.4396e-08 | -4.3609e-08 | -4.2842e-08 | -4.2095e-08 | -4.1368e-08 | -4.0659e-08 | -3.9969e-08 | -3.9296e-08 | -3.864e-08 | -3.8e-08 | -3.7376e-08 | -3.6767e-08 | -3.6173e-08 | -3.5594e-08 | -3.5028e-08 | -3.4475e-08 | -3.3936e-08 | -3.3409e-08 | -3.2895e-08 | -3.2392e-08 | -3.19e-08 | -3.142e-08 | -3.0951e-08 | -3.0492e-08 | -3.0043e-08 | -2.9604e-08 | -2.9174e-08 | -2.8754e-08 | -2.8343e-08 | -2.7941e-08 | -2.7547e-08 | -2.7161e-08 | -2.6784e-08 | -2.6414e-08 | -2.6052e-08 | -2.5698e-08 | -2.535e-08 | -2.501e-08 | -2.4676e-08
[NCl3] Trichloramine (Nitrogen Trichloride) | 1.1423e-05 | 1.1423e-05 | 1.1195e-05 | 1.0976e-05 | 1.0765e-05 | 1.0563e-05 | 1.0368e-05 | 1.018e-05 | 9.9994e-06 | 9.8249e-06 | 9.6566e-06 | 9.494e-06 | 9.3369e-06 | 9.185e-06 | 9.038e-06 | 8.8958e-06 | 8.7581e-06 | 8.6246e-06 | 8.4952e-06 | 8.3697e-06 | 8.248e-06 | 8.1298e-06 | 8.015e-06 | 7.9034e-06 | 7.795e-06 | 7.6896e-06 | 7.587e-06 | 7.4872e-06 | 7.3901e-06 | 7.2955e-06 | 7.2033e-06 | 7.1135e-06 | 7.0259e-06 | 6.9405e-06 | 6.8572e-06 | 6.7759e-06 | 6.6966e-06 | 6.6191e-06 | 6.5435e-06 | 6.4696e-06 | 6.3974e-06 | 6.3268e-06 | 6.2578e-06 | 6.1903e-06 | 6.1243e-06 | 6.0597e-06 | 5.9965e-06 | 5.9346e-06 | 5.8741e-06 | 5.8147e-06 | 5.7566e-06 | 5.6997e-06 | 5.6439e-06 | 5.5892e-06 | 5.5356e-06 | 5.4831e-06 | 5.4315e-06 | 5.381e-06 | 5.3314e-06 | 5.2827e-06 | 5.2349e-06 | 5.188e-06 | 5.142e-06 | 5.0968e-06 | 5.0524e-06 | 5.0088e-06 | 4.9659e-06 | 4.9239e-06 | 4.8825e-06 | 4.8418e-06 | 4.8019e-06 | 4.7626e-06 | 4.7239e-06 | 4.6859e-06 | 4.6485e-06 | 4.6118e-06 | 4.5756e-06 | 4.54e-06 | 4.505e-06 | 4.4705e-06 | 4.4366e-06 | 4.4032e-06 | 4.3703e-06 | 4.3379e-06 | 4.306e-06 | 4.2746e-06 | 4.2436e-06 | 4.2131e-06 | 4.1831e-06 | 4.1535e-06 | 4.1243e-06 | 4.0955e-06 | 4.0672e-06 | 4.0393e-06 | 4.0117e-06 | 3.9845e-06 | 3.9578e-06 | 3.9313e-06 | 3.9053e-06 | 3.8796e-06 | 3.8542e-06 | 3.8292e-06
d[NOH] | 4.0137e-11 | 4.0137e-11 | 3.8078e-11 | 3.6163e-11 | 3.4378e-11 | 3.2712e-11 | 3.1155e-11 | 2.9699e-11 | 2.8334e-11 | 2.7054e-11 | 2.5852e-11 | 2.4722e-11 | 2.3658e-11 | 2.2655e-11 | 2.171e-11 | 2.0817e-11 | 1.9973e-11 | 1.9175e-11 | 1.8419e-11 | 1.7703e-11 | 1.7024e-11 | 1.6379e-11 | 1.5766e-11 | 1.5184e-11 | 1.463e-11 | 1.4102e-11 | 1.3599e-11 | 1.312e-11 | 1.2662e-11 | 1.2225e-11 | 1.1808e-11 | 1.1409e-11 | 1.1027e-11 | 1.0662e-11 | 1.0312e-11 | 9.9767e-12 | 9.6552e-12 | 9.3468e-12 | 9.0509e-12 | 8.7666e-12 | 8.4935e-12 | 8.231e-12 | 7.9785e-12 | 7.7356e-12 | 7.5018e-12 | 7.2766e-12 | 7.0596e-12 | 6.8505e-12 | 6.6488e-12 | 6.4543e-12 | 6.2665e-12 | 6.0853e-12 | 5.9102e-12 | 5.7411e-12 | 5.5777e-12 | 5.4196e-12 | 5.2667e-12 | 5.1188e-12 | 4.9757e-12 | 4.8371e-12 | 4.7028e-12 | 4.5728e-12 | 4.4468e-12 | 4.3246e-12 | 4.2061e-12 | 4.0912e-12 | 3.9797e-12 | 3.8714e-12 | 3.7664e-12 | 3.6643e-12 | 3.5652e-12 | 3.4689e-12 | 3.3754e-12 | 3.2844e-12 | 3.1959e-12 | 3.1099e-12 | 3.0262e-12 | 2.9448e-12 | 2.8656e-12 | 2.7884e-12 | 2.7133e-12 | 2.6401e-12 | 2.5689e-12 | 2.4994e-12 | 2.4318e-12 | 2.3658e-12 | 2.3015e-12 | 2.2388e-12 | 2.1777e-12 | 2.118e-12 | 2.0599e-12 | 2.0031e-12 | 1.9477e-12 | 1.8936e-12 | 1.8407e-12 | 1.7892e-12 | 1.7388e-12 | 1.6896e-12 | 1.6415e-12 | 1.5946e-12 | 1.5487e-12 | 1.5038e-12
[NOH] | 0 | 0 | 4.0137e-11 | 7.8215e-11 | 1.1438e-10 | 1.4875e-10 | 1.8147e-10 | 2.1262e-10 | 2.4232e-10 | 2.7065e-10 | 2.9771e-10 | 3.2356e-10 | 3.4828e-10 | 3.7194e-10 | 3.946e-10 | 4.1631e-10 | 4.3712e-10 | 4.571e-10 | 4.7627e-10 | 4.9469e-10 | 5.1239e-10 | 5.2942e-10 | 5.458e-10 | 5.6156e-10 | 5.7675e-10 | 5.9138e-10 | 6.0548e-10 | 6.1908e-10 | 6.322e-10 | 6.4486e-10 | 6.5708e-10 | 6.6889e-10 | 6.803e-10 | 6.9133e-10 | 7.0199e-10 | 7.123e-10 | 7.2228e-10 | 7.3193e-10 | 7.4128e-10 | 7.5033e-10 | 7.591e-10 | 7.6759e-10 | 7.7582e-10 | 7.838e-10 | 7.9154e-10 | 7.9904e-10 | 8.0631e-10 | 8.1337e-10 | 8.2022e-10 | 8.2687e-10 | 8.3333e-10 | 8.3959e-10 | 8.4568e-10 | 8.5159e-10 | 8.5733e-10 | 8.6291e-10 | 8.6833e-10 | 8.736e-10 | 8.7871e-10 | 8.8369e-10 | 8.8853e-10 | 8.9323e-10 | 8.978e-10 | 9.0225e-10 | 9.0657e-10 | 9.1078e-10 | 9.1487e-10 | 9.1885e-10 | 9.2272e-10 | 9.2649e-10 | 9.3015e-10 | 9.3372e-10 | 9.3719e-10 | 9.4056e-10 | 9.4385e-10 | 9.4704e-10 | 9.5015e-10 | 9.5318e-10 | 9.5612e-10 | 9.5899e-10 | 9.6178e-10 | 9.6449e-10 | 9.6713e-10 | 9.697e-10 | 9.722e-10 | 9.7463e-10 | 9.77e-10 | 9.793e-10 | 9.8154e-10 | 9.8372e-10 | 9.8583e-10 | 9.8789e-10 | 9.899e-10 | 9.9184e-10 | 9.9374e-10 | 9.9558e-10 | 9.9737e-10 | 9.9911e-10 | 1.0008e-09 | 1.0024e-09 | 1.004e-09 | 1.0056e-09
d[NO3-] | 2.6299e-10 | 2.6299e-10 | 2.597e-10 | 2.5645e-10 | 2.5325e-10 | 2.5011e-10 | 2.4701e-10 | 2.4397e-10 | 2.4099e-10 | 2.3806e-10 | 2.3518e-10 | 2.3235e-10 | 2.2958e-10 | 2.2686e-10 | 2.2419e-10 | 2.2157e-10 | 2.1901e-10 | 2.1649e-10 | 2.1402e-10 | 2.1159e-10 | 2.0922e-10 | 2.0689e-10 | 2.046e-10 | 2.0236e-10 | 2.0015e-10 | 1.98e-10 | 1.9588e-10 | 1.938e-10 | 1.9176e-10 | 1.8976e-10 | 1.8779e-10 | 1.8586e-10 | 1.8397e-10 | 1.8211e-10 | 1.8028e-10 | 1.7849e-10 | 1.7673e-10 | 1.75e-10 | 1.733e-10 | 1.7163e-10 | 1.6999e-10 | 1.6838e-10 | 1.668e-10 | 1.6524e-10 | 1.6371e-10 | 1.6221e-10 | 1.6073e-10 | 1.5927e-10 | 1.5784e-10 | 1.5644e-10 | 1.5505e-10 | 1.5369e-10 | 1.5235e-10 | 1.5103e-10 | 1.4974e-10 | 1.4846e-10 | 1.472e-10 | 1.4597e-10 | 1.4475e-10 | 1.4355e-10 | 1.4237e-10 | 1.4121e-10 | 1.4007e-10 | 1.3894e-10 | 1.3783e-10 | 1.3673e-10 | 1.3566e-10 | 1.3459e-10 | 1.3355e-10 | 1.3251e-10 | 1.315e-10 | 1.305e-10 | 1.2951e-10 | 1.2853e-10 | 1.2757e-10 | 1.2663e-10 | 1.2569e-10 | 1.2477e-10 | 1.2386e-10 | 1.2296e-10 | 1.2208e-10 | 1.2121e-10 | 1.2035e-10 | 1.195e-10 | 1.1866e-10 | 1.1783e-10 | 1.1702e-10 | 1.1621e-10 | 1.1541e-10 | 1.1463e-10 | 1.1385e-10 | 1.1309e-10 | 1.1233e-10 | 1.1159e-10 | 1.1085e-10 | 1.1012e-10 | 1.094e-10 | 1.0869e-10 | 1.0799e-10 | 1.073e-10 | 1.0661e-10 | 1.0593e-10
[NO3-] Nitrate | 0 | 0 | 2.6299e-10 | 5.2269e-10 | 7.7914e-10 | 1.0324e-09 | 1.2825e-09 | 1.5295e-09 | 1.7735e-09 | 2.0145e-09 | 2.2525e-09 | 2.4877e-09 | 2.7201e-09 | 2.9496e-09 | 3.1765e-09 | 3.4007e-09 | 3.6223e-09 | 3.8413e-09 | 4.0578e-09 | 4.2718e-09 | 4.4834e-09 | 4.6926e-09 | 4.8995e-09 | 5.1041e-09 | 5.3064e-09 | 5.5066e-09 | 5.7046e-09 | 5.9005e-09 | 6.0943e-09 | 6.286e-09 | 6.4758e-09 | 6.6636e-09 | 6.8494e-09 | 7.0334e-09 | 7.2155e-09 | 7.3958e-09 | 7.5743e-09 | 7.751e-09 | 7.926e-09 | 8.0993e-09 | 8.2709e-09 | 8.4409e-09 | 8.6093e-09 | 8.7761e-09 | 8.9413e-09 | 9.105e-09 | 9.2672e-09 | 9.428e-09 | 9.5872e-09 | 9.7451e-09 | 9.9015e-09 | 1.0057e-08 | 1.021e-08 | 1.0363e-08 | 1.0514e-08 | 1.0663e-08 | 1.0812e-08 | 1.0959e-08 | 1.1105e-08 | 1.125e-08 | 1.1393e-08 | 1.1536e-08 | 1.1677e-08 | 1.1817e-08 | 1.1956e-08 | 1.2094e-08 | 1.223e-08 | 1.2366e-08 | 1.2501e-08 | 1.2634e-08 | 1.2767e-08 | 1.2898e-08 | 1.3029e-08 | 1.3158e-08 | 1.3287e-08 | 1.3414e-08 | 1.3541e-08 | 1.3667e-08 | 1.3791e-08 | 1.3915e-08 | 1.4038e-08 | 1.416e-08 | 1.4282e-08 | 1.4402e-08 | 1.4521e-08 | 1.464e-08 | 1.4758e-08 | 1.4875e-08 | 1.4991e-08 | 1.5107e-08 | 1.5221e-08 | 1.5335e-08 | 1.5448e-08 | 1.556e-08 | 1.5672e-08 | 1.5783e-08 | 1.5893e-08 | 1.6002e-08 | 1.6111e-08 | 1.6219e-08 | 1.6326e-08 | 1.6433e-08
d[N2] | 2.2924e-07 | 2.2924e-07 | 2.2014e-07 | 2.1157e-07 | 2.0349e-07 | 1.9587e-07 | 1.8868e-07 | 1.8187e-07 | 1.7543e-07 | 1.6933e-07 | 1.6355e-07 | 1.5805e-07 | 1.5283e-07 | 1.4787e-07 | 1.4315e-07 | 1.3865e-07 | 1.3436e-07 | 1.3027e-07 | 1.2636e-07 | 1.2263e-07 | 1.1906e-07 | 1.1564e-07 | 1.1237e-07 | 1.0924e-07 | 1.0624e-07 | 1.0336e-07 | 1.006e-07 | 9.7949e-08 | 9.5401e-08 | 9.2951e-08 | 9.0595e-08 | 8.8329e-08 | 8.6146e-08 | 8.4044e-08 | 8.2019e-08 | 8.0066e-08 | 7.8183e-08 | 7.6365e-08 | 7.4611e-08 | 7.2917e-08 | 7.128e-08 | 6.9698e-08 | 6.8168e-08 | 6.6689e-08 | 6.5257e-08 | 6.3872e-08 | 6.253e-08 | 6.123e-08 | 5.9971e-08 | 5.875e-08 | 5.7567e-08 | 5.6419e-08 | 5.5305e-08 | 5.4224e-08 | 5.3175e-08 | 5.2156e-08 | 5.1167e-08 | 5.0205e-08 | 4.927e-08 | 4.8362e-08 | 4.7478e-08 | 4.6619e-08 | 4.5783e-08 | 4.4969e-08 | 4.4177e-08 | 4.3406e-08 | 4.2655e-08 | 4.1923e-08 | 4.121e-08 | 4.0516e-08 | 3.9838e-08 | 3.9178e-08 | 3.8534e-08 | 3.7906e-08 | 3.7294e-08 | 3.6696e-08 | 3.6113e-08 | 3.5543e-08 | 3.4987e-08 | 3.4444e-08 | 3.3913e-08 | 3.3395e-08 | 3.2889e-08 | 3.2394e-08 | 3.191e-08 | 3.1438e-08 | 3.0975e-08 | 3.0523e-08 | 3.0081e-08 | 2.9648e-08 | 2.9225e-08 | 2.8811e-08 | 2.8405e-08 | 2.8008e-08 | 2.762e-08 | 2.7239e-08 | 2.6867e-08 | 2.6502e-08 | 2.6144e-08 | 2.5794e-08 | 2.5451e-08 | 2.5114e-08
[N2] Nitrogen gas | 0 | 0 | 2.2924e-07 | 4.4938e-07 | 6.6095e-07 | 8.6444e-07 | 1.0603e-06 | 1.249e-06 | 1.4309e-06 | 1.6063e-06 | 1.7756e-06 | 1.9392e-06 | 2.0972e-06 | 2.2501e-06 | 2.3979e-06 | 2.5411e-06 | 2.6797e-06 | 2.8141e-06 | 2.9444e-06 | 3.0707e-06 | 3.1933e-06 | 3.3124e-06 | 3.428e-06 | 3.5404e-06 | 3.6497e-06 | 3.7559e-06 | 3.8593e-06 | 3.9599e-06 | 4.0578e-06 | 4.1532e-06 | 4.2462e-06 | 4.3368e-06 | 4.4251e-06 | 4.5112e-06 | 4.5953e-06 | 4.6773e-06 | 4.7574e-06 | 4.8355e-06 | 4.9119e-06 | 4.9865e-06 | 5.0594e-06 | 5.1307e-06 | 5.2004e-06 | 5.2686e-06 | 5.3353e-06 | 5.4005e-06 | 5.4644e-06 | 5.5269e-06 | 5.5882e-06 | 5.6481e-06 | 5.7069e-06 | 5.7645e-06 | 5.8209e-06 | 5.8762e-06 | 5.9304e-06 | 5.9836e-06 | 6.0357e-06 | 6.0869e-06 | 6.1371e-06 | 6.1864e-06 | 6.2347e-06 | 6.2822e-06 | 6.3288e-06 | 6.3746e-06 | 6.4196e-06 | 6.4638e-06 | 6.5072e-06 | 6.5498e-06 | 6.5917e-06 | 6.633e-06 | 6.6735e-06 | 6.7133e-06 | 6.7525e-06 | 6.791e-06 | 6.8289e-06 | 6.8662e-06 | 6.9029e-06 | 6.939e-06 | 6.9746e-06 | 7.0096e-06 | 7.044e-06 | 7.0779e-06 | 7.1113e-06 | 7.1442e-06 | 7.1766e-06 | 7.2085e-06 | 7.2399e-06 | 7.2709e-06 | 7.3014e-06 | 7.3315e-06 | 7.3612e-06 | 7.3904e-06 | 7.4192e-06 | 7.4476e-06 | 7.4756e-06 | 7.5032e-06 | 7.5305e-06 | 7.5573e-06 | 7.5839e-06 | 7.61e-06 | 7.6358e-06 | 7.6612e-06
d[Cl-] | 6.8886e-07 | 6.8886e-07 | 6.6153e-07 | 6.358e-07 | 6.1156e-07 | 5.8869e-07 | 5.6708e-07 | 5.4666e-07 | 5.2732e-07 | 5.09e-07 | 4.9163e-07 | 4.7514e-07 | 4.5947e-07 | 4.4456e-07 | 4.3038e-07 | 4.1687e-07 | 4.0399e-07 | 3.917e-07 | 3.7997e-07 | 3.6876e-07 | 3.5804e-07 | 3.4779e-07 | 3.3797e-07 | 3.2857e-07 | 3.1956e-07 | 3.1091e-07 | 3.0262e-07 | 2.9465e-07 | 2.8699e-07 | 2.7964e-07 | 2.7256e-07 | 2.6575e-07 | 2.592e-07 | 2.5288e-07 | 2.468e-07 | 2.4093e-07 | 2.3527e-07 | 2.2981e-07 | 2.2454e-07 | 2.1945e-07 | 2.1454e-07 | 2.0978e-07 | 2.0519e-07 | 2.0074e-07 | 1.9644e-07 | 1.9228e-07 | 1.8825e-07 | 1.8434e-07 | 1.8056e-07 | 1.7689e-07 | 1.7333e-07 | 1.6988e-07 | 1.6654e-07 | 1.6329e-07 | 1.6014e-07 | 1.5707e-07 | 1.541e-07 | 1.5121e-07 | 1.484e-07 | 1.4567e-07 | 1.4301e-07 | 1.4043e-07 | 1.3792e-07 | 1.3547e-07 | 1.3309e-07 | 1.3077e-07 | 1.2851e-07 | 1.2632e-07 | 1.2417e-07 | 1.2208e-07 | 1.2005e-07 | 1.1806e-07 | 1.1613e-07 | 1.1424e-07 | 1.124e-07 | 1.106e-07 | 1.0885e-07 | 1.0713e-07 | 1.0546e-07 | 1.0383e-07 | 1.0223e-07 | 1.0068e-07 | 9.9153e-08 | 9.7665e-08 | 9.6211e-08 | 9.4789e-08 | 9.3398e-08 | 9.2039e-08 | 9.0709e-08 | 8.9407e-08 | 8.8134e-08 | 8.6888e-08 | 8.5669e-08 | 8.4475e-08 | 8.3306e-08 | 8.2162e-08 | 8.1041e-08 | 7.9943e-08 | 7.8868e-08 | 7.7814e-08 | 7.6782e-08 | 7.577e-08
[Cl-] Chloride ion | 0 | 0 | 6.8886e-07 | 1.3504e-06 | 1.9862e-06 | 2.5977e-06 | 3.1864e-06 | 3.7535e-06 | 4.3002e-06 | 4.8275e-06 | 5.3365e-06 | 5.8281e-06 | 6.3033e-06 | 6.7627e-06 | 7.2073e-06 | 7.6377e-06 | 8.0546e-06 | 8.4585e-06 | 8.8502e-06 | 9.2302e-06 | 9.599e-06 | 9.957e-06 | 1.0305e-05 | 1.0643e-05 | 1.0971e-05 | 1.1291e-05 | 1.1602e-05 | 1.1904e-05 | 1.2199e-05 | 1.2486e-05 | 1.2766e-05 | 1.3038e-05 | 1.3304e-05 | 1.3563e-05 | 1.3816e-05 | 1.4063e-05 | 1.4304e-05 | 1.4539e-05 | 1.4769e-05 | 1.4993e-05 | 1.5213e-05 | 1.5427e-05 | 1.5637e-05 | 1.5842e-05 | 1.6043e-05 | 1.624e-05 | 1.6432e-05 | 1.662e-05 | 1.6804e-05 | 1.6985e-05 | 1.7162e-05 | 1.7335e-05 | 1.7505e-05 | 1.7672e-05 | 1.7835e-05 | 1.7995e-05 | 1.8152e-05 | 1.8306e-05 | 1.8457e-05 | 1.8606e-05 | 1.8752e-05 | 1.8895e-05 | 1.9035e-05 | 1.9173e-05 | 1.9308e-05 | 1.9441e-05 | 1.9572e-05 | 1.9701e-05 | 1.9827e-05 | 1.9951e-05 | 2.0073e-05 | 2.0193e-05 | 2.0311e-05 | 2.0428e-05 | 2.0542e-05 | 2.0654e-05 | 2.0765e-05 | 2.0874e-05 | 2.0981e-05 | 2.1086e-05 | 2.119e-05 | 2.1292e-05 | 2.1393e-05 | 2.1492e-05 | 2.159e-05 | 2.1686e-05 | 2.1781e-05 | 2.1874e-05 | 2.1966e-05 | 2.2057e-05 | 2.2146e-05 | 2.2235e-05 | 2.2321e-05 | 2.2407e-05 | 2.2492e-05 | 2.2575e-05 | 2.2657e-05 | 2.2738e-05 | 2.2818e-05 | 2.2897e-05 | 2.2975e-05 | 2.3051e-05
% Completion of Breakpoint | 44.44% | 44.44% | 45.34% | 46.2% | 47.03% | 47.83% | 48.59% | 49.33% | 50.05% | 50.73% | 51.4% | 52.04% | 52.66% | 53.26% | 53.84% | 54.4% | 54.94% | 55.47% | 55.98% | 56.48% | 56.96% | 57.42% | 57.88% | 58.32% | 58.75% | 59.17% | 59.57% | 59.97% | 60.35% | 60.73% | 61.09% | 61.45% | 61.8% | 62.14% | 62.47% | 62.79% | 63.1% | 63.41% | 63.71% | 64.01% | 64.29% | 64.57% | 64.85% | 65.12% | 65.38% | 65.64% | 65.89% | 66.13% | 66.38% | 66.61% | 66.84% | 67.07% | 67.29% | 67.51% | 67.73% | 67.94% | 68.14% | 68.34% | 68.54% | 68.74% | 68.93% | 69.12% | 69.3% | 69.48% | 69.66% | 69.83% | 70% | 70.17% | 70.34% | 70.5% | 70.66% | 70.82% | 70.97% | 71.13% | 71.28% | 71.42% | 71.57% | 71.71% | 71.85% | 71.99% | 72.13% | 72.26% | 72.4% | 72.53% | 72.65% | 72.78% | 72.91% | 73.03% | 73.15% | 73.27% | 73.39% | 73.5% | 73.62% | 73.73% | 73.84% | 73.95% | 74.06% | 74.17% | 74.27% | 74.37% | 74.48% | 74.58%
Nitrogen Mass Balance | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05 | 2.5702e-05
Chlorine Mass Balance | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353 | 0.00011353
Hypochlorous Acid in water (ppm Cl2) | 0.062527 | 0.062527 | 0.063016 | 0.063483 | 0.063932 | 0.064363 | 0.064778 | 0.065176 | 0.065559 | 0.065928 | 0.066283 | 0.066626 | 0.066956 | 0.067275 | 0.067583 | 0.06788 | 0.068168 | 0.068446 | 0.068715 | 0.068975 | 0.069228 | 0.069472 | 0.069709 | 0.069939 | 0.070161 | 0.070378 | 0.070588 | 0.070791 | 0.070989 | 0.071182 | 0.071369 | 0.071551 | 0.071728 | 0.0719 | 0.072068 | 0.072231 | 0.072391 | 0.072545 | 0.072697 | 0.072844 | 0.072987 | 0.073127 | 0.073264 | 0.073397 | 0.073527 | 0.073654 | 0.073778 | 0.073899 | 0.074018 | 0.074133 | 0.074247 | 0.074357 | 0.074465 | 0.074571 | 0.074674 | 0.074775 | 0.074874 | 0.074971 | 0.075066 | 0.075159 | 0.07525 | 0.075339 | 0.075426 | 0.075512 | 0.075595 | 0.075678 | 0.075758 | 0.075837 | 0.075914 | 0.07599 | 0.076065 | 0.076138 | 0.076209 | 0.07628 | 0.076349 | 0.076417 | 0.076483 | 0.076548 | 0.076613 | 0.076676 | 0.076738 | 0.076798 | 0.076858 | 0.076917 | 0.076975 | 0.077031 | 0.077087 | 0.077142 | 0.077196 | 0.077249 | 0.077301 | 0.077352 | 0.077403 | 0.077452 | 0.077501 | 0.077549 | 0.077596 | 0.077643 | 0.077689 | 0.077734 | 0.077778 | 0.077822
Monochloramine in water (ppm Cl2) | 0 | 0 | 0.001168 | 0.0023378 | 0.0035088 | 0.0046805 | 0.0058527 | 0.0070249 | 0.0081967 | 0.0093678 | 0.010538 | 0.011707 | 0.012874 | 0.014039 | 0.015202 | 0.016363 | 0.017521 | 0.018677 | 0.019829 | 0.020979 | 0.022125 | 0.023267 | 0.024406 | 0.025541 | 0.026672 | 0.027799 | 0.028922 | 0.03004 | 0.031155 | 0.032264 | 0.033369 | 0.03447 | 0.035565 | 0.036656 | 0.037742 | 0.038823 | 0.039899 | 0.040969 | 0.042035 | 0.043095 | 0.044151 | 0.0452 | 0.046245 | 0.047284 | 0.048318 | 0.049346 | 0.050369 | 0.051386 | 0.052398 | 0.053404 | 0.054405 | 0.0554 | 0.05639 | 0.057374 | 0.058352 | 0.059325 | 0.060292 | 0.061253 | 0.062209 | 0.063159 | 0.064104 | 0.065043 | 0.065976 | 0.066904 | 0.067826 | 0.068742 | 0.069653 | 0.070558 | 0.071457 | 0.072351 | 0.07324 | 0.074123 | 0.075 | 0.075872 | 0.076738 | 0.077598 | 0.078454 | 0.079303 | 0.080147 | 0.080986 | 0.081819 | 0.082647 | 0.08347 | 0.084287 | 0.085098 | 0.085905 | 0.086706 | 0.087501 | 0.088292 | 0.089077 | 0.089857 | 0.090631 | 0.091401 | 0.092165 | 0.092924 | 0.093678 | 0.094427 | 0.095171 | 0.09591 | 0.096643 | 0.097372 | 0.098096
Dichloramine in water (ppb Cl2) | 809.9667 | 809.9667 | 793.6153 | 777.9114 | 762.817 | 748.2969 | 734.3188 | 720.8525 | 707.8704 | 695.3464 | 683.2567 | 671.5789 | 660.292 | 649.3766 | 638.8147 | 628.589 | 618.6838 | 609.0841 | 599.7759 | 590.7459 | 581.9819 | 573.4721 | 565.2056 | 557.1721 | 549.3617 | 541.7652 | 534.374 | 527.1797 | 520.1745 | 513.351 | 506.7022 | 500.2215 | 493.9024 | 487.739 | 481.7257 | 475.8568 | 470.1273 | 464.5322 | 459.0668 | 453.7266 | 448.5074 | 443.4051 | 438.4157 | 433.5356 | 428.7611 | 424.0889 | 419.5156 | 415.0382 | 410.6537 | 406.3591 | 402.1518 | 398.0291 | 393.9884 | 390.0273 | 386.1435 | 382.3347 | 378.5987 | 374.9335 | 371.3371 | 367.8076 | 364.343 | 360.9417 | 357.6018 | 354.3218 | 351.1 | 347.9348 | 344.8249 | 341.7687 | 338.7649 | 335.8121 | 332.909 | 330.0545 | 327.2472 | 324.486 | 321.7698 | 319.0974 | 316.4679 | 313.8802 | 311.3333 | 308.8262 | 306.3581 | 303.928 | 301.535 | 299.1782 | 296.857 | 294.5704 | 292.3178 | 290.0983 | 287.9112 | 285.7558 | 283.6314 | 281.5374 | 279.4731 | 277.4379 | 275.4312 | 273.4523 | 271.5007 | 269.5759 | 267.6772 | 265.8043 | 263.9564 | 262.1332
Nitrogen trichloride in water (ppb Cl2) | 809.9667 | 809.9667 | 793.7871 | 778.2523 | 763.3242 | 748.968 | 735.1511 | 721.8436 | 709.0177 | 696.6477 | 684.7095 | 673.1808 | 662.0409 | 651.2702 | 640.8508 | 630.7656 | 620.9987 | 611.5352 | 602.3612 | 593.4635 | 584.8298 | 576.4486 | 568.3087 | 560.4 | 552.7126 | 545.2375 | 537.9658 | 530.8894 | 524.0005 | 517.2917 | 510.756 | 504.3869 | 498.1779 | 492.1231 | 486.2168 | 480.4536 | 474.8284 | 469.3363 | 463.9725 | 458.7326 | 453.6123 | 448.6077 | 443.7147 | 438.9298 | 434.2493 | 429.6699 | 425.1883 | 420.8015 | 416.5063 | 412.3001 | 408.18 | 404.1434 | 400.1878 | 396.3108 | 392.5101 | 388.7833 | 385.1285 | 381.5435 | 378.0263 | 374.575 | 371.1878 | 367.863 | 364.5987 | 361.3934 | 358.2454 | 355.1533 | 352.1156 | 349.1308 | 346.1975 | 343.3145 | 340.4805 | 337.6942 | 334.9544 | 332.26 | 329.6098 | 327.0028 | 324.4379 | 321.9141 | 319.4304 | 316.9859 | 314.5796 | 312.2107 | 309.8783 | 307.5815 | 305.3196 | 303.0917 | 300.8971 | 298.7351 | 296.6049 | 294.5058 | 292.4371 | 290.3983 | 288.3886 | 286.4074 | 284.4541 | 282.5282 | 280.6291 | 278.7561 | 276.9089 | 275.0868 | 273.2893 | 271.5159
NOTE: actual airborne concentration is limited by the quantity in the water so the very high Nitrogen trichloride amount is artificial and just shows the high volatility of this compound.
Standard air concentration is 0.041 moles/liter (about 1.2 g/L or 1.2 kg/(m^3)); the following are ppb using partial pressure or volume or partial molar fraction, not actual weight.
Hypochlorous Acid air equilibrium (ppbV) | 1.3361 | 1.3361 | 1.3465 | 1.3565 | 1.3661 | 1.3753 | 1.3842 | 1.3927 | 1.4009 | 1.4088 | 1.4164 | 1.4237 | 1.4307 | 1.4376 | 1.4441 | 1.4505 | 1.4566 | 1.4626 | 1.4683 | 1.4739 | 1.4793 | 1.4845 | 1.4896 | 1.4945 | 1.4992 | 1.5039 | 1.5083 | 1.5127 | 1.5169 | 1.521 | 1.525 | 1.5289 | 1.5327 | 1.5364 | 1.54 | 1.5435 | 1.5469 | 1.5502 | 1.5534 | 1.5566 | 1.5596 | 1.5626 | 1.5655 | 1.5684 | 1.5712 | 1.5739 | 1.5765 | 1.5791 | 1.5816 | 1.5841 | 1.5865 | 1.5889 | 1.5912 | 1.5935 | 1.5957 | 1.5978 | 1.5999 | 1.602 | 1.604 | 1.606 | 1.608 | 1.6099 | 1.6117 | 1.6136 | 1.6154 | 1.6171 | 1.6188 | 1.6205 | 1.6222 | 1.6238 | 1.6254 | 1.6269 | 1.6285 | 1.63 | 1.6315 | 1.6329 | 1.6343 | 1.6357 | 1.6371 | 1.6384 | 1.6398 | 1.6411 | 1.6423 | 1.6436 | 1.6448 | 1.646 | 1.6472 | 1.6484 | 1.6496 | 1.6507 | 1.6518 | 1.6529 | 1.654 | 1.655 | 1.6561 | 1.6571 | 1.6581 | 1.6591 | 1.6601 | 1.6611 | 1.662 | 1.6629
Monochloramine air equilibrium (ppbV) | 0 | 0 | 0.17524 | 0.35074 | 0.52643 | 0.70224 | 0.87811 | 1.054 | 1.2298 | 1.4055 | 1.581 | 1.7564 | 1.9315 | 2.1063 | 2.2809 | 2.455 | 2.6288 | 2.8022 | 2.9751 | 3.1475 | 3.3194 | 3.4909 | 3.6617 | 3.832 | 4.0017 | 4.1708 | 4.3393 | 4.5071 | 4.6742 | 4.8407 | 5.0065 | 5.1716 | 5.336 | 5.4997 | 5.6626 | 5.8247 | 5.9862 | 6.1468 | 6.3067 | 6.4658 | 6.6241 | 6.7816 | 6.9383 | 7.0942 | 7.2493 | 7.4036 | 7.557 | 7.7097 | 7.8615 | 8.0124 | 8.1626 | 8.3119 | 8.4603 | 8.608 | 8.7548 | 8.9007 | 9.0458 | 9.19 | 9.3335 | 9.476 | 9.6177 | 9.7586 | 9.8986 | 10.0378 | 10.1761 | 10.3136 | 10.4503 | 10.5861 | 10.721 | 10.8552 | 10.9885 | 11.1209 | 11.2525 | 11.3833 | 11.5133 | 11.6424 | 11.7707 | 11.8982 | 12.0248 | 12.1506 | 12.2757 | 12.3999 | 12.5233 | 12.6458 | 12.7676 | 12.8886 | 13.0088 | 13.1282 | 13.2467 | 13.3645 | 13.4816 | 13.5978 | 13.7132 | 13.8279 | 13.9418 | 14.0549 | 14.1673 | 14.2789 | 14.3897 | 14.4998 | 14.6091 | 14.7177
Dichloramine air equilibrium (ppbV) | 393.9002 | 393.9002 | 385.9482 | 378.3112 | 370.9705 | 363.9091 | 357.1113 | 350.5625 | 344.2491 | 338.1585 | 332.279 | 326.5999 | 321.1109 | 315.8026 | 310.6661 | 305.6932 | 300.8762 | 296.2077 | 291.6809 | 287.2895 | 283.0274 | 278.889 | 274.8688 | 270.962 | 267.1637 | 263.4694 | 259.8749 | 256.3762 | 252.9694 | 249.6511 | 246.4177 | 243.266 | 240.1929 | 237.1956 | 234.2711 | 231.417 | 228.6307 | 225.9097 | 223.2518 | 220.6548 | 218.1166 | 215.6352 | 213.2088 | 210.8355 | 208.5136 | 206.2414 | 204.0174 | 201.8399 | 199.7077 | 197.6192 | 195.5731 | 193.5681 | 191.603 | 189.6767 | 187.7879 | 185.9357 | 184.1188 | 182.3364 | 180.5874 | 178.8709 | 177.186 | 175.5319 | 173.9077 | 172.3125 | 170.7457 | 169.2065 | 167.694 | 166.2078 | 164.747 | 163.311 | 161.8992 | 160.5109 | 159.1457 | 157.8029 | 156.482 | 155.1824 | 153.9036 | 152.6451 | 151.4065 | 150.1873 | 148.987 | 147.8052 | 146.6414 | 145.4953 | 144.3665 | 143.2545 | 142.159 | 141.0796 | 140.0159 | 138.9677 | 137.9346 | 136.9163 | 135.9124 | 134.9226 | 133.9467 | 132.9844 | 132.0353 | 131.0992 | 130.1759 | 129.265 | 128.3664 | 127.4797
Nitrogen trichloride air equilibrium (ppbV) | 114231.0466 | 114231.0466 | 111949.2111 | 109758.3089 | 107652.984 | 105628.2949 | 103679.6746 | 101802.896 | 99994.0405 | 98249.4706 | 96565.8048 | 94939.8954 | 93368.8089 | 91849.8076 | 90380.3337 | 88957.9948 | 87580.5506 | 86245.9008 | 84952.0748 | 83697.2212 | 82479.5994 | 81297.5712 | 80149.5933 | 79034.2105 | 77950.0499 | 76895.8145 | 75870.2785 | 74872.2822 | 73900.7279 | 72954.5754 | 72032.8385 | 71134.5817 | 70258.9165 | 69404.9992 | 68572.0272 | 67759.2373 | 66965.9029 | 66191.332 | 65434.8651 | 64695.8733 | 63973.7564 | 63267.9416 | 62577.8818 | 61903.054 | 61242.9583 | 60597.1164 | 59965.0705 | 59346.3823 | 58740.6318 | 58147.4166 | 57566.3506 | 56997.0637 | 56439.2006 | 55892.4201 | 55356.3946 | 54830.8091 | 54315.361 | 53809.7593 | 53313.7238 | 52826.9853 | 52349.2841 | 51880.3705 | 51420.0037 | 50967.9517 | 50523.9909 | 50087.9055 | 49659.4875 | 49238.5361 | 48824.8573 | 48418.2641 | 48018.5755 | 47625.6168 | 47239.2193 | 46859.2197 | 46485.46 | 46117.7876 | 45756.0547 | 45400.1184 | 45049.84 | 44705.0857 | 44365.7254 | 44031.6335 | 43702.6879 | 43378.7704 | 43059.7665 | 42745.5649 | 42436.058 | 42131.141 | 41830.7125 | 41534.674 | 41242.9296 | 40955.3867 | 40671.9548 | 40392.5463 | 40117.076 | 39845.4611 | 39577.6211 | 39313.4778 | 39052.9549 | 38795.9784 | 38542.4764 | 38292.3787
µg/(m^3) = ppbV * molecular weight / 24.46; pppV = µg/(m^3) * 24.46 / molecular weight
Trichloramine @ 0.3-0.5 mg/(m^3) = 61-102 ppb (using nitrogen trichloride molecular weight) triggered asthma
Hypochlorous Acid odor threshold is 0.28 mg/L; Monochloramine odor threshold is 0.65 mg/L (usually not a problem in drinking water until > 5 ppm); Dichloramine 0.1-0.5 ppm in water is detectable odor; Trichloramine is 0.02 mg/L -- all of these are as Cl2 mg/L equivalents
White (1999) says tastes and odors not detectable until 20 mg/L for HOCl, 5 mg/L for Monochloramine, 0.8 mg/L for Dichloramine, 0.02 mg/L for Nitrogen trichloride
Rabbit conjuctiva irritation: FC uncertain reaction at 16 mg/L, clear reaction at 20 mg/L; monochloramine uncertain reaction at 3 mg/L, clear reaction at 4 mg/L, very severe reaction at 5 mg/L; chlorourea clear reaction at 10 mg/L, severe reaction at 12 mg/L.
Reaction Rates
HOCl + NH3 --> NH2Cl + H2O | START 0: 1.6472e-07
NH2Cl + H2O --> HOCl + NH3 | START 0: 0
HOCl + NH2Cl --> NHCl2 + H2O | START 0: 0
NHCl2 + H2O --> HOCl + NH2Cl | START 0: 7.2981e-12
NH2Cl + NH2Cl --> NHCl2 + NH3 (H+ and buffer) | START 0: 0
NHCl2 + NH3 --> NH2Cl + NH2Cl (H+ catalyzed) | START 0: 9.7357e-16
NHCl2 + H2O --> NOH + 2H+ + 2Cl- (OH- catalyzed) | START 0: 4.0137e-10
NOH + NHCl2 --> N2 + HOCl + H+ + Cl- | START 0: 0
NOH + NH2Cl --> N2 + H2O + H+ + Cl- | START 0: 0
NH2Cl + NHCl2 --> N2 + 3H+ + 3Cl- | START 0: 0
HOCl + NHCl2 --> NCl3 + H2O (OH-, OCl-, buffer) | START 0: 1.0593e-08; START 0.1: Initial OCl- used since this term is minor at normal pH
NHCl2 + NCl3 + 2H2O --> 2HOCl + N2 + 3H+ + 3Cl- | START 0: 2.2924e-06; START 0.1: OH- catalyzed
NH2Cl + NCl3 + H2O --> HOCl + N2 + 3H+ + 3Cl- | START 0: 0; START 0.1: OH- catalyzed
NHCl2 + 2HOCl + H2O --> NO3- + 5H+ + 4Cl- | START 0: 2.6299e-09; START 0.1: rate [NHCl2][OCl-]
NOH + 2HOCl --> NO3- + 3H+ + 2Cl- | START 0: 0; START 0.1: rate [NOH][HOCl]
NCl3 + H2O --> NHCl2 + HOCl | START 0: 0
Time (minutes) |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60
Ammonia |  | 5.7116e-06 | 9.1938e-20 | 3.0768e-32 | 1.1097e-43 | 3.1665e-54 | 5.3057e-64 | 4.075e-73 | 1.1728e-81 | 1.0724e-89 | 2.7186e-97 | 1.7049e-104 | 2.4027e-111 | 7.0118e-118 | 3.9506e-124 | 4.0448e-130 | 7.1398e-136 | 2.075e-141 | 9.5354e-147 | 6.6846e-152 | 6.9253e-157 | 1.0306e-161 | 2.1481e-166 | 6.1284e-171 | 2.3445e-175 | 1.1805e-179 | 7.6917e-184 | 6.386e-188 | 6.6614e-192 | 8.6182e-196 | 1.3666e-199 | 2.6273e-203 | 6.0624e-207 | 1.6635e-210 | 5.3816e-214 | 2.0362e-217 | 8.9445e-221 | 4.5301e-224 | 2.6283e-227 | 1.7364e-230 | 1.2989e-233 | 1.0944e-236 | 1.0335e-239 | 1.0889e-242 | 1.2742e-245 | 1.6493e-248 | 2.3525e-251 | 3.6838e-254 | 6.3111e-257 | 1.1791e-259 | 2.3949e-262 | 5.2725e-265 | 1.2547e-267 | 3.219e-270 | 8.8811e-273 | 2.6286e-275 | 8.3274e-278 | 2.8177e-280 | 1.0161e-282 | 3.8982e-285 | 1.5877e-287 | 6.8539e-290
Chlorine |  | 1.4103e-05 | 7.7953e-06 | 7.1611e-06 | 6.5924e-06 | 6.1032e-06 | 5.6828e-06 | 5.3187e-06 | 5.0007e-06 | 4.7207e-06 | 4.4724e-06 | 4.2507e-06 | 4.0517e-06 | 3.8721e-06 | 3.7092e-06 | 3.5608e-06 | 3.425e-06 | 3.3004e-06 | 3.1857e-06 | 3.0796e-06 | 2.9814e-06 | 2.8901e-06 | 2.805e-06 | 2.7255e-06 | 2.6512e-06 | 2.5815e-06 | 2.5159e-06 | 2.4543e-06 | 2.3961e-06 | 2.3412e-06 | 2.2892e-06 | 2.2399e-06 | 2.1932e-06 | 2.1488e-06 | 2.1066e-06 | 2.0664e-06 | 2.0281e-06 | 1.9915e-06 | 1.9565e-06 | 1.9231e-06 | 1.8911e-06 | 1.8604e-06 | 1.831e-06 | 1.8027e-06 | 1.7756e-06 | 1.7495e-06 | 1.7245e-06 | 1.7003e-06 | 1.677e-06 | 1.6546e-06 | 1.633e-06 | 1.6121e-06 | 1.5919e-06 | 1.5724e-06 | 1.5535e-06 | 1.5353e-06 | 1.5176e-06 | 1.5005e-06 | 1.484e-06 | 1.4679e-06 | 1.4523e-06 | 1.4372e-06
Monochloramine |  | 1e-300 | 5.1409e-06 | 4.57e-06 | 4.0773e-06 | 3.6649e-06 | 3.3181e-06 | 3.0236e-06 | 2.771e-06 | 2.5523e-06 | 2.3613e-06 | 2.1934e-06 | 2.0448e-06 | 1.9125e-06 | 1.7939e-06 | 1.6873e-06 | 1.5909e-06 | 1.5034e-06 | 1.4237e-06 | 1.3509e-06 | 1.284e-06 | 1.2225e-06 | 1.1657e-06 | 1.1132e-06 | 1.0645e-06 | 1.0192e-06 | 9.7706e-07 | 9.3768e-07 | 9.0085e-07 | 8.6633e-07 | 8.3393e-07 | 8.0347e-07 | 7.7478e-07 | 7.4772e-07 | 7.2217e-07 | 6.98e-07 | 6.7512e-07 | 6.5343e-07 | 6.3284e-07 | 6.1327e-07 | 5.9466e-07 | 5.7694e-07 | 5.6005e-07 | 5.4393e-07 | 5.2855e-07 | 5.1384e-07 | 4.9978e-07 | 4.8631e-07 | 4.7341e-07 | 4.6105e-07 | 4.4918e-07 | 4.3779e-07 | 4.2685e-07 | 4.1633e-07 | 4.0621e-07 | 3.9647e-07 | 3.8709e-07 | 3.7804e-07 | 3.6933e-07 | 3.6092e-07 | 3.528e-07 | 3.4497e-07
Dichloramine |  | 1e-300 | 1.9852e-07 | 1.7282e-07 | 1.4115e-07 | 1.1748e-07 | 9.9338e-08 | 8.502e-08 | 7.3505e-08 | 6.4113e-08 | 5.6358e-08 | 4.9888e-08 | 4.4439e-08 | 3.9809e-08 | 3.5846e-08 | 3.243e-08 | 2.9465e-08 | 2.6877e-08 | 2.4606e-08 | 2.2603e-08 | 2.0827e-08 | 1.9247e-08 | 1.7835e-08 | 1.6569e-08 | 1.5429e-08 | 1.4399e-08 | 1.3466e-08 | 1.2618e-08 | 1.1846e-08 | 1.114e-08 | 1.0494e-08 | 9.9006e-09 | 9.3548e-09 | 8.8516e-09 | 8.3867e-09 | 7.9565e-09 | 7.5575e-09 | 7.187e-09 | 6.8422e-09 | 6.5209e-09 | 6.221e-09 | 5.9407e-09 | 5.6783e-09 | 5.4325e-09 | 5.2017e-09 | 4.9849e-09 | 4.7809e-09 | 4.5888e-09 | 4.4077e-09 | 4.2367e-09 | 4.0752e-09 | 3.9225e-09 | 3.7778e-09 | 3.6408e-09 | 3.5108e-09 | 3.3875e-09 | 3.2703e-09 | 3.1588e-09 | 3.0528e-09 | 2.9518e-09 | 2.8556e-09 | 2.7638e-09
Trichloramine (Nitrogen Trichloride) |  | 1e-300 | 1.4438e-10 | 3.2453e-10 | 4.615e-10 | 5.6559e-10 | 6.4658e-10 | 7.1083e-10 | 7.6261e-10 | 8.0489e-10 | 8.3985e-10 | 8.6904e-10 | 8.9366e-10 | 9.146e-10 | 9.3253e-10 | 9.4801e-10 | 9.6144e-10 | 9.7317e-10 | 9.8346e-10 | 9.9253e-10 | 1.0006e-09 | 1.0077e-09 | 1.0141e-09 | 1.0198e-09 | 1.0249e-09 | 1.0295e-09 | 1.0337e-09 | 1.0374e-09 | 1.0409e-09 | 1.044e-09 | 1.0468e-09 | 1.0493e-09 | 1.0517e-09 | 1.0538e-09 | 1.0558e-09 | 1.0576e-09 | 1.0593e-09 | 1.0608e-09 | 1.0622e-09 | 1.0634e-09 | 1.0646e-09 | 1.0657e-09 | 1.0667e-09 | 1.0676e-09 | 1.0684e-09 | 1.0692e-09 | 1.0699e-09 | 1.0705e-09 | 1.0711e-09 | 1.0717e-09 | 1.0722e-09 | 1.0726e-09 | 1.073e-09 | 1.0734e-09 | 1.0737e-09 | 1.074e-09 | 1.0743e-09 | 1.0745e-09 | 1.0747e-09 | 1.0749e-09 | 1.0751e-09 | 1.0752e-09